## MASTER_INDEX
DRAWING INDEX R3P-25074 - HUNT ENERGY NETWORK - NANULAK 180MW BESS
DRAWING NUMBER | ISSUE | DESCRIPTION | REVISION | DATE | TYPE | QA/QC READY
E0-0000 | APPROVAL | COVER SHEET - NANULAK 180MW BESS SUBSTATION | C | 2026-03-16 | GENERAL | FALSE
E0-0001 | APPROVAL | DRAWING INDEX - SUBSTATION | C | 2026-03-16 | GENERAL | FALSE
E0-0101 | APPROVAL | CABLE SCHEDULE, SHT.1 | C | 2026-03-16 | GENERAL | FALSE
E0-0102 | APPROVAL | CABLE SCHEDULE, SHT.2 | C | 2026-03-16 | GENERAL | FALSE
E0-0103 | APPROVAL | CABLE SCHEDULE, SHT.3 | C | 2026-03-16 | GENERAL | FALSE
E0-0104 | APPROVAL | CABLE SCHEDULE, SHT.4 | C | 2026-03-16 | GENERAL | FALSE
E0-0105 | APPROVAL | CABLE SCHEDULE, SHT.5 | C | 2026-03-16 | GENERAL | FALSE
E0-0106 | APPROVAL | CONDUIT SCHEDULE | C | 2026-03-16 | GENERAL | FALSE
E0-0201 | APPROVAL | BILL OF MATERIALS | C | 2026-03-16 | GENERAL | FALSE
FALSE
E1-0001 | APPROVAL | ELECTRICAL ROUTING PLAN - SUBSTATION | C |  | PLAN VIEWS | FALSE
E1-0002 | APPROVAL | ELECTRICAL ROUTING PLAN - BESS |  |  | PLAN VIEWS | FALSE
E1-0003 | APPROVAL | ELECTRICAL ROUTING PLAN - BESS |  |  | PLAN VIEWS | FALSE
E1-0004 | APPROVAL | ELECTRICAL ROUTING PLAN - BESS |  |  | PLAN VIEWS | FALSE
E1-0005 | APPROVAL | ELECTRICAL ROUTING PLAN - BESS |  |  | PLAN VIEWS | FALSE
E1-0006 | APPROVAL | ELECTRICAL ROUTING PLAN - BESS |  |  | PLAN VIEWS | FALSE
E1-0007 | APPROVAL | ELECTRICAL ROUTING PLAN - BESS |  |  | PLAN VIEWS | FALSE
E1-0008 | APPROVAL | ELECTRICAL ROUTING PLAN - BESS |  |  | PLAN VIEWS | FALSE
E1-0009 | APPROVAL | ELECTRICAL ROUTING PLAN - BESS |  |  | PLAN VIEWS | FALSE
E1-0010 | APPROVAL | ELECTRICAL ROUTING PLAN - BESS |  |  | PLAN VIEWS | FALSE
E1-0011 | APPROVAL | ELECTRICAL ROUTING PLAN - BESS |  |  | PLAN VIEWS | FALSE
E1-0012 | APPROVAL | GROUNDING PLAN - SUBSTATION |  |  | PLAN VIEWS | FALSE
E1-0013 | APPROVAL | GROUNDING PLAN - BESS |  |  | PLAN VIEWS | FALSE
E1-0014 | APPROVAL | GROUNDING PLAN - BESS |  |  | PLAN VIEWS | FALSE
E1-0015 | APPROVAL | GROUNDING PLAN - BESS |  |  | PLAN VIEWS | FALSE
E1-0016 | APPROVAL | GROUNDING PLAN - BESS |  |  | PLAN VIEWS | FALSE
E1-0017 | APPROVAL | GROUNDING PLAN - BESS |  |  | PLAN VIEWS | FALSE
E1-0018 | APPROVAL | GROUNDING PLAN - BESS |  |  | PLAN VIEWS | FALSE
E1-0019 | APPROVAL | GROUNDING PLAN - BESS |  |  | PLAN VIEWS | FALSE
E1-0020 | APPROVAL | GROUNDING PLAN - BESS |  |  | PLAN VIEWS | FALSE
E1-0021 | APPROVAL | GROUNDING PLAN - BESS |  |  | PLAN VIEWS | FALSE
E1-0022 | APPROVAL | GROUNDING PLAN - BESS |  |  | PLAN VIEWS | FALSE
E2-0001 | APPROVAL | CONTROL HOUSE LAYOUT | C | 2026-03-16 | ELEVATION VIEWS | FALSE
E2-0002 | APPROVAL | RELAY PANEL ELEVATIONS |  |  | ELEVATION VIEWS | FALSE
E2-0003 | APPROVAL | RELAY PANEL #1 ELEVATION VIEW |  |  | ELEVATION VIEWS | FALSE
E2-0004 | APPROVAL | RELAY PANEL #2 ELEVATION VIEW |  |  | ELEVATION VIEWS | FALSE
E2-0005 | APPROVAL | RELAY PANEL #3 ELEVATION VIEW |  |  | ELEVATION VIEWS | FALSE
E2-0006 | APPROVAL | RELAY PANEL #4 ELEVATION VIEW |  |  | ELEVATION VIEWS | FALSE
E2-0007 | APPROVAL | RELAY PANEL #5 ELEVATION VIEW |  |  | ELEVATION VIEWS | FALSE
E2-0008 | APPROVAL | CONTROL PANEL #1 ELEVATION VIEW |  |  | ELEVATION VIEWS | FALSE
E2-0009 | APPROVAL | CONTROL PANEL #2 ELEVATION VIEW |  |  | ELEVATION VIEWS | FALSE
E2-0010 | APPROVAL | CONTROL PANEL #3 ELEVATION VIEW |  |  | ELEVATION VIEWS | FALSE
FALSE
E5-0101 | APPROVAL | ELECTRICAL DETAILS SHT.1 |  |  | DETAILS | FALSE
E5-0102 | APPROVAL | ELECTRICAL DETAILS SHT.2 |  |  | DETAILS | FALSE
E5-0103 | APPROVAL | XFMR FOUNDATION CONDUIT DETAIL |  |  | DETAILS | FALSE
E5-0201 | APPROVAL | CABLE TRENCH DETAILS |  |  | DETAILS | FALSE
E5-0801 | APPROVAL | GROUNDING INSTALLATION DETAILS SHT.1 |  |  | DETAILS | FALSE
E5-0802 | APPROVAL | GROUNDING INSTALLATION DETAILS SHT.2 |  |  | DETAILS | FALSE
FALSE
E6-0001 | APPROVAL | OVERALL SINGLE LINE DIAGRAM |  |  | SINGLE-LINES | FALSE
E6-0002 | APPROVAL | RELAYING SINGLE LINE DIAGRAM SHT.1 |  |  | SINGLE-LINES | FALSE
E6-0003 | APPROVAL | RELAYING SINGLE LINE DIAGRAM SHT.2 |  |  | SINGLE-LINES | FALSE
E6-0004 | APPROVAL | RELAYING SINGLE LINE DIAGRAM SHT.3 |  |  | SINGLE-LINES | FALSE
E6-0005 | APPROVAL | RELAYING SINGLE LINE DIAGRAM SHT.4 |  |  | SINGLE-LINES | FALSE
E6-0006 | APPROVAL | BESS SINGLE LINE DIAGRAM SHT.1 |  |  | SINGLE-LINES | FALSE
E6-0009 | APPROVAL | BESS SINGLE LINE DIAGRAM SHT.2 |  |  | SINGLE-LINES | FALSE
E6-0010 | APPROVAL | BESS SINGLE LINE DIAGRAM SHT.3 |  |  | SINGLE-LINES | FALSE
E6-0011 | APPROVAL | BESS SINGLE LINE DIAGRAM SHT.4 |  |  | SINGLE-LINES | FALSE
E6-0012 | APPROVAL | BESS SINGLE LINE DIAGRAM SHT.5 |  |  | SINGLE-LINES | FALSE
E6-0013 | APPROVAL | BESS SINGLE LINE DIAGRAM SHT.6 |  |  | SINGLE-LINES | FALSE
E6-0014 | APPROVAL | BESS SINGLE LINE DIAGRAM SHT.7 |  |  | SINGLE-LINES | FALSE
E6-0015 | APPROVAL | BESS SINGLE LINE DIAGRAM SHT.8 |  |  | SINGLE-LINES | FALSE
E6-0016 | APPROVAL | BESS SINGLE LINE DIAGRAM SHT.9 |  |  | SINGLE-LINES | FALSE
E6-0017 | APPROVAL | BESS SINGLE LINE DIAGRAM SHT.10 |  |  | SINGLE-LINES | FALSE
E6-0101 | APPROVAL | THREE LINE DIAGRAM SHT.1 |  |  | THREE-LINES | FALSE
E6-0102 | APPROVAL | THREE LINE DIAGRAM SHT.1 |  |  | THREE-LINES | FALSE
E6-0103 | APPROVAL | THREE LINE DIAGRAM SHT.1 |  |  | THREE-LINES | FALSE
E6-0104 | APPROVAL | THREE LINE DIAGRAM SHT.1 |  |  | THREE-LINES | FALSE
E6-0105 | APPROVAL | THREE LINE DIAGRAM SHT.1 |  |  | THREE-LINES | FALSE
E6-0106 | APPROVAL | THREE LINE DIAGRAM SHT.1 |  |  | THREE-LINES | FALSE
E6-0107 | APPROVAL | THREE LINE DIAGRAM SHT.1 |  |  | THREE-LINES | FALSE
E6-0108 | APPROVAL | BESS THREE LINE DIAGRAM SHT.1 |  |  | THREE-LINES | FALSE
E6-0109 | APPROVAL | BESS THREE LINE DIAGRAM SHT.2 |  |  | THREE-LINES | FALSE
E6-0110 | APPROVAL | BESS THREE LINE DIAGRAM SHT.3 |  |  | THREE-LINES | FALSE
E6-0111 | APPROVAL | THREE LINE DIAGRAM SHT.1 |  |  | THREE-LINES | FALSE
E6-0112 | APPROVAL | THREE LINE DIAGRAM SHT.1 |  |  | THREE-LINES | FALSE
E6-0113 | APPROVAL | THREE LINE DIAGRAM SHT.1 |  |  | THREE-LINES | FALSE
E6-0114 | APPROVAL | THREE LINE DIAGRAM SHT.1 |  |  | THREE-LINES | FALSE
E6-0201 | APPROVAL | SEL-751-101 RELAY AC SCHEMATIC |  |  | AC SCHEMES | FALSE
E6-0202 | APPROVAL | SEL-751-102 RELAY AC SCHEMATIC |  |  | AC SCHEMES | FALSE
E6-0203 | APPROVAL | SEL-751-103 RELAY AC SCHEMATIC |  |  | AC SCHEMES | FALSE
E6-0204 | APPROVAL | SEL-751-104 RELAY AC SCHEMATIC |  |  | AC SCHEMES | FALSE
E6-0205 | APPROVAL | SEL-751-201 RELAY AC SCHEMATIC |  |  | AC SCHEMES | FALSE
E6-0206 | APPROVAL | SEL-751-202 RELAY AC SCHEMATIC |  |  | AC SCHEMES | FALSE
E6-0207 | APPROVAL | SEL-751-203 RELAY AC SCHEMATIC |  |  | AC SCHEMES | FALSE
E6-0208 | APPROVAL | SEL-751-204 RELAY AC SCHEMATIC |  |  | AC SCHEMES | FALSE
E6-0209 | APPROVAL | SEL-751-301 RELAY AC SCHEMATIC |  |  | AC SCHEMES | FALSE
E6-0210 | APPROVAL | SEL-751-302 RELAY AC SCHEMATIC |  |  | AC SCHEMES | FALSE
E6-0211 | APPROVAL | SEL-751-303 RELAY AC SCHEMATIC |  |  | AC SCHEMES | FALSE
E6-0212 | APPROVAL | SEL-751-304 RELAY AC SCHEMATIC |  |  | AC SCHEMES | FALSE
E6-0213 | APPROVAL | SEL-487E-100 RELAY AC SCHEMATIC |  |  | AC SCHEMES | FALSE
E6-0214 | APPROVAL | SEL-487E-200 RELAY AC SCHEMATIC |  |  | AC SCHEMES | FALSE
E6-0215 | APPROVAL | SEL-487E-300 RELAY AC SCHEMATIC |  |  | AC SCHEMES | FALSE
E6-0216 | APPROVAL | SEL-487B-001 AC SCHEMATIC |  |  | AC SCHEMES | FALSE
E6-0217 | APPROVAL | SEL-421-001 (PRIMARY) RELAY AC SCHEMATIC |  |  | AC SCHEMES | FALSE
E6-0218 | APPROVAL | SEL-411L-001 (BACKUP) RELAY AC SCHEMATIC |  |  | AC SCHEMES | FALSE
E6-0301 | APPROVAL | GCB-001 CLOSE & TRIP COIL 1 DC SCHEMATIC |  |  | DC SCHEMES | FALSE
E6-0302 | APPROVAL | GCB-001 TRIP COIL 2 DC SCHEMATIC |  |  | DC SCHEMES | FALSE
E6-0303 | APPROVAL | GCB-101 CLOSE & TRIP COIL 1 DC SCHEMATIC |  |  | DC SCHEMES | FALSE
E6-0304 | APPROVAL | GCB-101 TRIP COIL 2 DC SCHEMATIC |  |  | DC SCHEMES | FALSE
E6-0305 | APPROVAL | GCB-201 CLOSE & TRIP COIL 1 DC SCHEMATIC |  |  | DC SCHEMES | FALSE
E6-0306 | APPROVAL | GCB-201 TRIP COIL 2 DC SCHEMATIC |  |  | DC SCHEMES | FALSE
E6-0307 | APPROVAL | GCB-301 CLOSE & TRIP COIL 1 DC SCHEMATIC |  |  | DC SCHEMES | FALSE
E6-0308 | APPROVAL | GCB-301 TRIP COIL 2 DC SCHEMATIC |  |  | DC SCHEMES | FALSE
E6-0309 | APPROVAL | 52-101 CLOSE & TRIP COIL 1 DC SCHEMATIC |  |  | DC SCHEMES | FALSE
E6-0310 | APPROVAL | 52-101 TRIP COIL 2 DC SCHEMATIC |  |  | DC SCHEMES | FALSE
E6-0311 | APPROVAL | 52-102 CLOSE & TRIP COIL 1 DC SCHEMATIC |  |  | DC SCHEMES | FALSE
E6-0312 | APPROVAL | 52-102 TRIP COIL 2 DC SCHEMATIC |  |  | DC SCHEMES | FALSE
E6-0313 | APPROVAL | 52-103 CLOSE & TRIP COIL 1 DC SCHEMATIC |  |  | DC SCHEMES | FALSE
E6-0314 | APPROVAL | 52-103 TRIP COIL 2 DC SCHEMATIC |  |  | DC SCHEMES | FALSE
E6-0315 | APPROVAL | 52-104 CLOSE & TRIP COIL 1 DC SCHEMATIC |  |  | DC SCHEMES | FALSE
E6-0316 | APPROVAL | 52-104 TRIP COIL 2 DC SCHEMATIC |  |  | DC SCHEMES | FALSE
E6-0317 | APPROVAL | 52-201 CLOSE & TRIP COIL 1 DC SCHEMATIC |  |  | DC SCHEMES | FALSE
E6-0318 | APPROVAL | 52-201 TRIP COIL 2 DC SCHEMATIC |  |  | DC SCHEMES | FALSE
E6-0319 | APPROVAL | 52-202 CLOSE & TRIP COIL 1 DC SCHEMATIC |  |  | DC SCHEMES | FALSE
E6-0320 | APPROVAL | 52-202 TRIP COIL 2 DC SCHEMATIC |  |  | DC SCHEMES | FALSE
E6-0321 | APPROVAL | 52-203 CLOSE & TRIP COIL 1 DC SCHEMATIC |  |  | DC SCHEMES | FALSE
E6-0322 | APPROVAL | 52-203 TRIP COIL 2 DC SCHEMATIC |  |  | DC SCHEMES | FALSE
E6-0323 | APPROVAL | 52-204 CLOSE & TRIP COIL 1 DC SCHEMATIC |  |  | DC SCHEMES | FALSE
E6-0324 | APPROVAL | 52-204 TRIP COIL 2 DC SCHEMATIC |  |  | DC SCHEMES | FALSE
E6-0325 | APPROVAL | 52-301 CLOSE & TRIP COIL 1 DC SCHEMATIC |  |  | DC SCHEMES | FALSE
E6-0326 | APPROVAL | 52-301 TRIP COIL 2 DC SCHEMATIC |  |  | DC SCHEMES | FALSE
E6-0327 | APPROVAL | 52-302 CLOSE & TRIP COIL 1 DC SCHEMATIC |  |  | DC SCHEMES | FALSE
E6-0328 | APPROVAL | 52-302 TRIP COIL 2 DC SCHEMATIC |  |  | DC SCHEMES | FALSE
E6-0329 | APPROVAL | 52-303 CLOSE & TRIP COIL 1 DC SCHEMATIC |  |  | DC SCHEMES | FALSE
E6-0330 | APPROVAL | 52-303 TRIP COIL 2 DC SCHEMATIC |  |  | DC SCHEMES | FALSE
E6-0331 | APPROVAL | 52-304 CLOSE & TRIP COIL 1 DC SCHEMATIC |  |  | DC SCHEMES | FALSE
E6-0332 | APPROVAL | 52-304 TRIP COIL 2 DC SCHEMATIC |  |  | DC SCHEMES | FALSE
E6-0333 | APPROVAL | TRANSFORMER TR-1 CONTROL SCHEMATIC SHT.1 |  |  | DC SCHEMES | FALSE
E6-0334 | APPROVAL | TRANSFORMER TR-1 CONTROL SCHEMATIC SHT.2 |  |  | DC SCHEMES | FALSE
E6-0335 | APPROVAL | TRANSFORMER TR-2 CONTROL SCHEMATIC SHT.1 |  |  | DC SCHEMES | FALSE
E6-0336 | APPROVAL | TRANSFORMER TR-2 CONTROL SCHEMATIC SHT.2 |  |  | DC SCHEMES | FALSE
E6-0337 | APPROVAL | TRANSFORMER TR-3 CONTROL SCHEMATIC SHT.1 |  |  | DC SCHEMES | FALSE
E6-0338 | APPROVAL | TRANSFORMER TR-3 CONTROL SCHEMATIC SHT.2 |  |  | DC SCHEMES | FALSE
E6-0339 | APPROVAL | SEL-411L-001 RELAY DC SCHEMATIC |  |  | DC SCHEMES | FALSE
E6-0340 | APPROVAL | SEL-421-001 RELAY DC SCHEMATIC |  |  | DC SCHEMES | FALSE
E6-0341 | APPROVAL | SEL-487B-001 RELAY DC SCHEMATIC SHT.1 |  |  | DC SCHEMES | FALSE
E6-0342 | APPROVAL | SEL-487B-001 RELAY DC SCHEMATIC SHT.2 |  |  | DC SCHEMES | FALSE
E6-0343 | APPROVAL | SEL-487B-001 RELAY DC SCHEMATIC SHT.3 |  |  | DC SCHEMES | FALSE
E6-0344 | APPROVAL | SEL-487B-001 RELAY DC SCHEMATIC SHT.4 |  |  | DC SCHEMES | FALSE
E6-0345 | APPROVAL | SEL-487B-001 RELAY DC SCHEMATIC SHT.5 |  |  | DC SCHEMES | FALSE
E6-0346 | APPROVAL | SEL-487E-100 RELAY DC SCHEMATIC SHT.1 |  |  | DC SCHEMES | FALSE
E6-0347 | APPROVAL | SEL-487E-100 RELAY DC SCHEMATIC SHT.2 |  |  | DC SCHEMES | FALSE
E6-0348 | APPROVAL | SEL-487E-200 RELAY DC SCHEMATIC SHT.1 |  |  | DC SCHEMES | FALSE
E6-0349 | APPROVAL | SEL-487E-200 RELAY DC SCHEMATIC SHT.2 |  |  | DC SCHEMES | FALSE
E6-0350 | APPROVAL | SEL-487E-300 RELAY DC SCHEMATIC SHT.1 |  |  | DC SCHEMES | FALSE
E6-0351 | APPROVAL | SEL-487E-300 RELAY DC SCHEMATIC SHT.2 |  |  | DC SCHEMES | FALSE
E6-0352 | APPROVAL | SEL-751-101 RELAY DC SCHEMATIC |  |  | DC SCHEMES | FALSE
E6-0353 | APPROVAL | SEL-751-102 RELAY DC SCHEMATIC |  |  | DC SCHEMES | FALSE
E6-0354 | APPROVAL | SEL-751-103 RELAY DC SCHEMATIC |  |  | DC SCHEMES | FALSE
E6-0355 | APPROVAL | SEL-751-104 RELAY DC SCHEMATIC |  |  | DC SCHEMES | FALSE
E6-0356 | APPROVAL | SEL-751-201 RELAY DC SCHEMATIC |  |  | DC SCHEMES | FALSE
E6-0357 | APPROVAL | SEL-751-202 RELAY DC SCHEMATIC |  |  | DC SCHEMES | FALSE
E6-0358 | APPROVAL | SEL-751-203 RELAY DC SCHEMATIC |  |  | DC SCHEMES | FALSE
E6-0359 | APPROVAL | SEL-751-204 RELAY DC SCHEMATIC |  |  | DC SCHEMES | FALSE
E6-0360 | APPROVAL | SEL-751-301 RELAY DC SCHEMATIC |  |  | DC SCHEMES | FALSE
E6-0361 | APPROVAL | SEL-751-302 RELAY DC SCHEMATIC |  |  | DC SCHEMES | FALSE
E6-0362 | APPROVAL | SEL-751-303 RELAY DC SCHEMATIC |  |  | DC SCHEMES | FALSE
E6-0363 | APPROVAL | SEL-751-304 RELAY DC SCHEMATIC |  |  | DC SCHEMES | FALSE
E6-0401 | APPROVAL | RELAY PANEL #1 WIRING DIAGRAM SHT.1 |  |  | WIRING DIAGRAMS | FALSE
E6-0402 | APPROVAL | RELAY PANEL #1 WIRING DIAGRAM SHT.2 |  |  | WIRING DIAGRAMS | FALSE
E6-0403 | APPROVAL | RELAY PANEL #1 IO CONFIGURATION SHT.1 |  |  | WIRING DIAGRAMS | FALSE
E6-0404 | APPROVAL | RELAY PANEL #1 IO CONFIGURATION SHT.2 |  |  | WIRING DIAGRAMS | FALSE
E6-0405 | APPROVAL | PANEL #2 WIRING DIAGRAM SHT. 1 |  |  | WIRING DIAGRAMS | FALSE
E6-0406 | APPROVAL | PANEL 2 WIRING DIAGRAM SHT. 2 |  |  | WIRING DIAGRAMS | FALSE
E6-0407 | APPROVAL | PANEL 2 I/O CONFIGURATION |  |  | WIRING DIAGRAMS | FALSE
E6-0408 | APPROVAL | PANEL 3 WIRING DIAGRAM SHT. 1 |  |  | WIRING DIAGRAMS | FALSE
E6-0409 | APPROVAL | PANEL 3 WIRING DIAGRAM SHT. 2 |  |  | WIRING DIAGRAMS | FALSE
E6-0410 | APPROVAL | PANEL 3 WIRING DIAGRAM SHT. 3 |  |  | WIRING DIAGRAMS | FALSE
E6-0411 | APPROVAL | PANEL 3 I/O CONFIGURATION SHT. 1 |  |  | WIRING DIAGRAMS | FALSE
E6-0412 | APPROVAL | PANEL 3 I/O CONFIGURATION SHT. 2 |  |  | WIRING DIAGRAMS | FALSE
E6-0413 | APPROVAL | PANEL 4 WIRING DIAGRAM SHT. 1 |  |  | WIRING DIAGRAMS | FALSE
E6-0414 | APPROVAL | PANEL 4 WIRING DIAGRAM SHT. 2 |  |  | WIRING DIAGRAMS | FALSE
E6-0415 | APPROVAL | PANEL 4 WIRING DIAGRAM SHT. 3 |  |  | WIRING DIAGRAMS | FALSE
E6-0416 | APPROVAL | PANEL 4 I/O CONFIGURATION SHT. 1 |  |  | WIRING DIAGRAMS | FALSE
E6-0417 | APPROVAL | PANEL 4 I/O CONFIGURATION SHT. 2 |  |  | WIRING DIAGRAMS | FALSE
E6-0418 | APPROVAL | PANEL 5 WIRING DIAGRAM SHT. 1 |  |  | WIRING DIAGRAMS | FALSE
E6-0419 | APPROVAL | PANEL 5 WIRING DIAGRAM SHT. 2 |  |  | WIRING DIAGRAMS | FALSE
E6-0420 | APPROVAL | PANEL 5 WIRING DIAGRAM SHT. 3 |  |  | WIRING DIAGRAMS | FALSE
E6-0421 | APPROVAL | PANEL 5 I/O CONFIGURATION SHT. 1 |  |  | WIRING DIAGRAMS | FALSE
E6-0422 | APPROVAL | PANEL 5 I/O CONFIGURATION SHT. 2 |  |  | WIRING DIAGRAMS | FALSE
E6-0423 | APPROVAL | CONTROL PANEL #1 |  |  | WIRING DIAGRAMS | FALSE
E6-0424 | APPROVAL | CONTROL PANEL #2 |  |  | WIRING DIAGRAMS | FALSE
E6-0425 | APPROVAL | CONTROL PANEL #3 |  |  | WIRING DIAGRAMS | FALSE
E6-0501 | APPROVAL | 480VAC POWER DISTRIBUTION |  |  | WIRING DIAGRAMS | FALSE
E6-0502 | APPROVAL | AC POWER DISTRIBUTION |  |  | WIRING DIAGRAMS | FALSE
E6-0503 | APPROVAL | DC POWER DISTRIBUTION |  |  | WIRING DIAGRAMS | FALSE
E6-0601 | APPROVAL | SWBD-101-1 PANEL SCHEDULE |  |  | WIRING DIAGRAMS | FALSE

## BESS
DRAWING INDEX R3P-25074 - HUNT ENERGY NETWORK - NANULAK 180MW BESS
DRAWING NUMBER | ISSUE | DESCRIPTION | REVISION | DATE | TYPE | QA/QC READY
E0-0000 | APPROVAL | COVER SHEET - NANULAK 180MW BESS SUBSTATION | C | 2026-03-16 | GENERAL | FALSE
E0-0001 | APPROVAL | DRAWING INDEX | C | 2026-03-16 | GENERAL | FALSE
E0-0101 | APPROVAL | CABLE SCHEDULE, SHT.1 | C | 2026-03-16 | GENERAL | FALSE
E0-0102 | APPROVAL | CABLE SCHEDULE, SHT.2 | C | 2026-03-16 | GENERAL | FALSE
E0-0103 | APPROVAL | CABLE SCHEDULE, SHT.3 | C | 2026-03-16 | GENERAL | FALSE
E0-0104 | APPROVAL | CABLE SCHEDULE, SHT.4 | C | 2026-03-16 | GENERAL | FALSE
E0-0105 | APPROVAL | CABLE SCHEDULE, SHT.5 | C | 2026-03-16 | GENERAL | FALSE
E0-0106 | APPROVAL | CONDUIT SCHEDULE | C | 2026-03-16 | GENERAL | FALSE
E0-0201 | APPROVAL | BILL OF MATERIALS | C | 2026-03-16 | GENERAL | FALSE
FALSE
E1-0004 | APPROVAL | ELECTRICAL ROUTING PLAN - BESS | A |  | PLAN VIEWS | FALSE
E1-0005 | APPROVAL | ELECTRICAL ROUTING PLAN - BESS - A-A | A |  | PLAN VIEWS | FALSE
E1-0006 | APPROVAL | ELECTRICAL ROUTING PLAN - BESS - B-B | A |  | PLAN VIEWS | FALSE
E1-0007 | APPROVAL | ELECTRICAL ROUTING PLAN - BESS - C-C | A |  | PLAN VIEWS | FALSE
E1-0008 | APPROVAL | ELECTRICAL ROUTING PLAN - BESS - D-D | A |  | PLAN VIEWS | FALSE
E1-0009 | APPROVAL | ELECTRICAL ROUTING PLAN - BESS - E-E | A |  | PLAN VIEWS | FALSE
E1-0010 | APPROVAL | ELECTRICAL ROUTING PLAN - BESS - F-F | A |  | PLAN VIEWS | FALSE
E1-0011 | APPROVAL | ELECTRICAL ROUTING PLAN - BESS - G-G | A |  | PLAN VIEWS | FALSE
E1-0012 | APPROVAL | ELECTRICAL ROUTING PLAN - BESS - H-H | A |  | PLAN VIEWS | FALSE
E1-0013 | APPROVAL | ELECTRICAL ROUTING PLAN - BESS - J-J | A |  | PLAN VIEWS | FALSE
E1-0015 | APPROVAL | GROUNDING PLAN - BESS | A | 2026-02-23 | PLAN VIEWS | FALSE
E1-0016 | APPROVAL | GROUNDING PLAN - BESS - A-A | A | 2026-02-23 | PLAN VIEWS | FALSE
E1-0017 | APPROVAL | GROUNDING PLAN - BESS - B-B | A | 2026-02-23 | PLAN VIEWS | FALSE
E1-0018 | APPROVAL | GROUNDING PLAN - BESS - C-C | A | 2026-02-23 | PLAN VIEWS | FALSE
E1-0019 | APPROVAL | GROUNDING PLAN - BESS - D-D | A | 2026-02-23 | PLAN VIEWS | FALSE
E1-0020 | APPROVAL | GROUNDING PLAN - BESS - E-E | A | 2026-02-23 | PLAN VIEWS | FALSE
E1-0021 | APPROVAL | GROUNDING PLAN - BESS - F-F | A | 2026-02-23 | PLAN VIEWS | FALSE
E1-0022 | APPROVAL | GROUNDING PLAN - BESS - G-G | A | 2026-02-23 | PLAN VIEWS | FALSE
E1-0023 | APPROVAL | GROUNDING PLAN - BESS - H-H | A | 2026-02-23 | PLAN VIEWS | FALSE
E1-0024 | APPROVAL | GROUNDING PLAN - BESS - J-J | A | 2026-02-23 | PLAN VIEWS | FALSE
E5-0103 | APPROVAL | ELECTRICAL DETAILS SHT.1 - BESS | A | 2026-02-23 | DETAILS | FALSE
E5-0104 | APPROVAL | ELECTRICAL DETAILS SHT.2 - BESS | A | 2026-02-23 | DETAILS | FALSE
E5-0804 | APPROVAL | GROUNDING INSTALLATION DETAILS SHT.1 - BESS | A | 2026-02-23 | DETAILS | FALSE
E5-0805 | APPROVAL | GROUNDING INSTALLATION DETAILS SHT.2 - SUBSTATION | A | 2026-02-23 | DETAILS | FALSE
E6-0006 | APPROVAL | BESS SINGLE LINE DIAGRAM SHT.1 | A | 2026-02-23 | SINGLE-LINES | FALSE
E6-0007 | APPROVAL | BESS SINGLE LINE DIAGRAM SHT.2 | A | 2026-02-23 | SINGLE-LINES | FALSE
E6-0008 | APPROVAL | BESS SINGLE LINE DIAGRAM SHT.3 | A | 2026-02-23 | SINGLE-LINES | FALSE
E6-0009 | APPROVAL | BESS SINGLE LINE DIAGRAM SHT.4 | A | 2026-02-23 | SINGLE-LINES | FALSE
E6-0010 | APPROVAL | BESS SINGLE LINE DIAGRAM SHT.5 | A | 2026-02-23 | SINGLE-LINES | FALSE
E6-0011 | APPROVAL | BESS SINGLE LINE DIAGRAM SHT.6 | A | 2026-02-23 | SINGLE-LINES | FALSE
E6-0012 | APPROVAL | BESS SINGLE LINE DIAGRAM SHT.7 | A | 2026-02-23 | SINGLE-LINES | FALSE
E6-0013 | APPROVAL | BESS SINGLE LINE DIAGRAM SHT.8 | A | 2026-02-23 | SINGLE-LINES | FALSE
E6-0014 | APPROVAL | BESS SINGLE LINE DIAGRAM SHT.9 | A | 2026-02-23 | SINGLE-LINES | FALSE
E6-0015 | APPROVAL | BESS SINGLE LINE DIAGRAM SHT.10 | A | 2026-02-23 | SINGLE-LINES | FALSE
E6-0108 | APPROVAL | BESS THREE LINE DIAGRAM SHT.1 | A | 2026-02-23 | THREE-LINES | FALSE
E6-0109 | APPROVAL | BESS THREE LINE DIAGRAM SHT.2 | A | 2026-02-23 | THREE-LINES | FALSE
E6-0110 | APPROVAL | BESS THREE LINE DIAGRAM SHT.3 | A | 2026-02-23 | THREE-LINES | FALSE
E6-0111 | APPROVAL | THREE LINE DIAGRAM SHT.1 | A | 2026-02-23 | THREE-LINES | FALSE
E6-0112 | APPROVAL | THREE LINE DIAGRAM SHT.1 | A | 2026-02-23 | THREE-LINES | FALSE
E6-0113 | APPROVAL | THREE LINE DIAGRAM SHT.1 | A | 2026-02-23 | THREE-LINES | FALSE
E6-0114 | APPROVAL | THREE LINE DIAGRAM SHT.1 | A | 2026-02-23 | THREE-LINES | FALSE
E6-0501 | APPROVAL | 480VAC POWER DISTRIBUTION | A | 2026-02-23 | WIRING DIAGRAMS | FALSE
E6-0601 | APPROVAL | SWBD-101-1 PANEL SCHEDULE | A | 2026-02-23 | WIRING DIAGRAMS | FALSE